## DataQual
Continuous Data QC - Data Qualifiers
Black - Jen Stamp
Red - Aaron Moore, VT
Blue - David Smith, KY
Green - Kayla Bowe, Red Lake Nation
Notes:
Translator for the two-letter code prior to the dash. First letter = initial flag. Second letter = final flag. So FF means Fail Fail, FP means Fail was changed to Pass, SS means Suspect Suspect
Use this structure when adding multiple qualifiers or comments to a cell:
"Initial Flag""Final Flag"-"Primary Qualifier";"Secondary Qualifier";"Additional Qualifiers";"comments"
Note: the semicolon is an effective delimiter for both excel and R. Spaces not needed after semicolon as they would be superfluous.
Examples:
PS-BAT;MAXAIRDQ
FP-NORMAL;see precip and sensor depth
Qualifier | Description
FF = confirmed fail | delete entry (original entry will be retained in the raw data fields) | Common errors
•Sensors are out of position; data points need to be trimmed
FF-BAT | battery issue | •Sensors move (unintentionally or intentionally) and/or are lost
FF-OUT | out of position (download, maintenance, moved, etc.) | •Best tests = spike, gross limit, visual check for outliers
FF-DEW | dewatered (in position but out of the water) | •Water temperature sensor dewatered
FF-SED | buried in sediment | •Visual check vs. air temperature (follow similar patterns), gross limit 38C (NorWeST)
FF-UNK | Can't explain why but clearly incorrect. People have also suggested 'FF-WTF' for this one. | •Water temperature sensor buried by sediment
FF-OTH | other explanation (see other QC log in other file) | •Visual check -
FF-DQ | Data Questionable. May correspond to extreme weather so maybe not impossible but highly questionable. User discretion strongly advised before using.
•Air temperature affected by solar radiation
FP = changed fail to pass | change flag to P, leave data as is | •Visual check vs. weather station or Daymet temperature data
•Negative water temperature readings
FP-WINTER | overturn flat line flag because it is an expected winter pattern (check air temperature - is it below zero? Check the date - is it a winter month?) | •Gross limit (lower), visual check
FP-XCHECK | check against other parameter(s); overturn the flag if the pattern makes sense based on the value of the other parameter | •Battery dies
FP-OTH | other explanation (see other QC log in other file) | •Visual check (all over the place). Spike test?
FP-DEW | F flag caused by return to water after dewatering; restabilized data is OK (likely shows up as Spike flag) | •Sensor drift
FP-OUT | F flag caused by return to water after handling; restabilized data is OK (likely shows up as Spike flag)
FP-NORMAL | outside custom F threshold, but adjacentdata points suggest data is OK
FP-START | F flag caused by return to water after removal for season (overwinter)
SS-DQ | Data Questionable. May correspond to weather event but may be questionable. User discretion advised before using.
•Discrete check (side by side measurement)
FS = changed fail to suspect | change flag to S, leave data as is | •Biofouling (rare)
•Discrete check (side by side measurement)
FS-UNK | do this if data is probably ok (e.g. based on nearby data points) but you don't fully trust it | •Sensor malfunctions (rare)
FS-NORMAL | ouside custom F threshold, but adjacent data points suggest data may be OK (not 100% sure). May mean future adjustment to threshold needed | •Flatline? Visual check
FS-FLAT | minor flat lines (apart from freezing events) a little disconcerting, but as a whole water temp still trends as expected. Possibly result of sedimentation on logger. Smaller water temp flat lines less diconcerting and left a pass.
FS-DQ | Data Questionable. May correspond to weather event but seems questionable. User discretion advised before using.
SS = Left as Suspect | don't remove data. Let the user decide how to handle it
SS-BAT
SS-OUT
SS-UNK
SS-OTH
SS-NORMAL | ouside custom S threshold, but adjacent data points suggest data may be OK (not 100% sure). May mean future adjustment to threshold needed
SS-FLAT | minor flat lines a little disconcerting, but as a whole water temp still trends as expected. Possibly result of sedimentation on logger
SP = changed suspect to pass | change flag to P, leave data as is
SP-XCHECK
SP-WINTER | overturn flat line or ROC flag because it is an expected winter pattern (check air temperature - is it below zero? Check the date - is it a winter month?)
SP-OUT | F flag caused by return to water after handling; restabilized data is OK (likely shows up as Spike flag)
SP-START | S flag caused by return to water after removal for season (overwinter)
SP-FALL | overturn flat line or ROC flag because it is an expected fall pattern
SP-SPRING | overturn flat line or ROC flag because it is an expected spring pattern
SF-UNK | suspect flag overturned to fail, unknown cause but obvious error
PF-UNK | data not flagged, unknown cause but obvious error
SP-NORMAL | outside custom S threshold, but adjacent data points suggests data is just fine. May mean future adjustment to threshold needed
PF/SF = pass or suspect changed to fail | delete entry (original entry will be retained in the raw data fields)
PF-DEW | pass flags were within known period of dewatering
SF-DEW | suspect flags were within known period of dewatering
PF-OUT | data not flagged but known to be out of position (e.g. launched in the office and brought out to the stream)
SF-OUT | data not flagged but known to be out of position (e.g. launched in the office and brought out to the stream)
PS-MAXAIRDQ | Max Air temp Data Questionable. Unrealistic max air temp readings compared to Daymet and Wx station data. May be result of logger lacking radiation shield or leaves off trees. Typically occurs from ~Mar-Apr and sometimes ~Sep. User discretion advised before using.
PP = Left as Pass | didn't trigger flag, but still want qualifier for end user's discretion
PP-WINTER | didn't trigger flag but logger clearly frozen